## Bus
uid | idx | u | name | Vn | vmax | vmin | v0 | a0 | xcoord | ycoord | area | zone | owner
0 | 1 | 1 | BUS1 | 1 | 1.1 | 0.9 | 1.0111 | 0.086696 | 0 | 0 | 1 | 1 | 1
1 | 2 | 1 | BUS2 | 1 | 1.1 | 0.9 | 1.0067 | 0.072855 | 0 | 0 | 1 | 1 | 1
2 | 3 | 1 | BUS3 | 1 | 1.1 | 0.9 | 1.047 | 0.071962 | 0 | 0 | 1 | 1 | 1
3 | 4 | 1 | BUS4 | 1 | 1.1 | 0.9 | 1.0076 | 0.073587 | 0 | 0 | 1 | 1 | 1
4 | 5 | 1 | BUS5 | 1 | 1.1 | 0.9 | 1.0037 | 0.042787 | 0 | 0 | 1 | 1 | 1
5 | 6 | 1 | BUS6 | 1 | 1.1 | 0.9 | 1.007 | 0.033877 | 0 | 0 | 1 | 1 | 1
6 | 7 | 1 | BUS7 | 1 | 1.1 | 0.9 | 1.0233 | 0.058165 | 0 | 0 | 1 | 1 | 1
7 | 8 | 1 | BUS8 | 1 | 1.1 | 0.9 | 1.0226 | 0.036254 | 0 | 0 | 1 | 1 | 1
8 | 9 | 1 | BUS9 | 1 | 1.1 | 0.9 | 1.0182 | 0.020255 | 0 | 0 | 1 | 1 | 1
9 | 10 | 1 | BUS10 | 1 | 1.1 | 0.9 | 1.042 | 0.1392 | 0 | 0 | 1 | 1 | 1
10 | 11 | 1 | BUS11 | 1 | 1.1 | 0.9 | 0.9841 | 0.11346 | 0 | 0 | 1 | 1 | 1
11 | 12 | 1 | BUS12 | 1 | 1.1 | 0.9 | 1.0251 | 0.10478 | 0 | 0 | 1 | 1 | 1
12 | 13 | 1 | BUS13 | 1 | 1.1 | 0.9 | 1.0458 | 0.18729 | 0 | 0 | 1 | 1 | 1
13 | 14 | 1 | BUS14 | 1 | 1.1 | 0.9 | 1.0399 | 0.18226 | 0 | 0 | 1 | 1 | 1
14 | 15 | 1 | BUS15 | 1 | 1.1 | 0.9 | 1.0292 | 0.061207 | 0 | 0 | 1 | 1 | 1
15 | 16 | 1 | BUS16 | 1 | 1.1 | 0.9 | 1.0394 | 0.0797 | 0 | 0 | 1 | 1 | 1
16 | 17 | 1 | BUS17 | 1 | 1.1 | 0.9 | 1.0398 | 0.05865 | 0 | 0 | 1 | 1 | 1
17 | 18 | 1 | BUS18 | 1 | 1.1 | 0.9 | 1.026 | 0.027728 | 0 | 0 | 1 | 1 | 1
18 | 19 | 1 | BUS19 | 1 | 1.1 | 0.9 | 1.0408 | 0.11438 | 0 | 0 | 1 | 1 | 1
19 | 20 | 1 | BUS20 | 1 | 1.1 | 0.9 | 1.0416 | 0.16116 | 0 | 0 | 1 | 1 | 1
20 | 21 | 1 | BUS21 | 1 | 1.1 | 0.9 | 0.98 | 0.22755 | 0 | 0 | 1 | 1 | 1
21 | 22 | 1 | BUS22 | 1 | 1.1 | 0.9 | 0.99 | 0.23162 | 0 | 0 | 1 | 1 | 1
22 | 23 | 1 | BUS23 | 1 | 1.1 | 0.9 | 1.0066 | 0.20422 | 0 | 0 | 1 | 1 | 1
23 | 24 | 1 | BUS24 | 1 | 1.1 | 0.9 | 1.05 | 0.28087 | 0 | 0 | 1 | 1 | 1
24 | 25 | 1 | BUS25 | 1 | 1.1 | 0.9 | 1.06 | 0.3204 | 0 | 0 | 1 | 1 | 1
25 | 26 | 1 | BUS26 | 1 | 1.1 | 0.9 | 1.02 | 0.28161 | 0 | 0 | 1 | 1 | 1
26 | 27 | 1 | BUS27 | 1 | 1.1 | 0.9 | 1.02 | 0.20086 | 0 | 0 | 1 | 1 | 1
27 | 28 | 1 | BUS28 | 1 | 1.1 | 0.9 | 1.0507 | 0.058428 | 0 | 0 | 1 | 1 | 1
28 | 29 | 1 | BUS29 | 1 | 1.1 | 0.9 | 1.025 | 0.058428 | 0 | 0 | 1 | 1 | 1
29 | 30 | 1 | BUS30 | 1 | 1.1 | 0.9 | 1.0146 | 0.014299 | 0 | 0 | 1 | 1 | 1
30 | 31 | 1 | BUS31 | 1 | 1.1 | 0.9 | 0.99468 | 0.008505 | 0 | 0 | 1 | 1 | 1
31 | 32 | 1 | BUS32 | 1 | 1.1 | 0.9 | 0.99915 | 0.033934 | 0 | 0 | 1 | 1 | 1
32 | 33 | 1 | BUS33 | 1 | 1.1 | 0.9 | 1.0019 | 0.046242 | 0 | 0 | 1 | 1 | 1
33 | 34 | 1 | BUS34 | 1 | 1.1 | 0.9 | 0.99175 | 0.010207 | 0 | 0 | 1 | 1 | 1
34 | 35 | 1 | BUS35 | 1 | 1.1 | 0.9 | 0.99104 | 0.0027192 | 0 | 0 | 1 | 1 | 1
35 | 36 | 1 | BUS36 | 1 | 1.1 | 0.9 | 0.98 | 0.19527 | 0 | 0 | 1 | 1 | 1
36 | 37 | 1 | BUS37 | 1 | 1.1 | 0.9 | 1.0359 | 0.083884 | 0 | 0 | 1 | 1 | 1
37 | 38 | 1 | BUS38 | 1 | 1.1 | 0.9 | 1.0354 | 0.12536 | 0 | 0 | 1 | 1 | 1
38 | 39 | 1 | BUS39 | 1 | 1.1 | 0.9 | 1.0348 | 0.059603 | 0 | 0 | 1 | 1 | 1
39 | 40 | 1 | BUS40 | 1 | 1.1 | 0.9 | 1.0016 | 0.012385 | 0 | 0 | 1 | 1 | 1
40 | 41 | 1 | BUS41 | 1 | 1.1 | 0.9 | 1.0345 | -0.054606 | 0 | 0 | 1 | 1 | 1
41 | 42 | 1 | BUS42 | 1 | 1.1 | 0.9 | 1.04 | -0.039085 | 0 | 0 | 1 | 1 | 1
42 | 43 | 1 | BUS43 | 1 | 1.1 | 0.9 | 1.0436 | 0.15112 | 0 | 0 | 1 | 1 | 1
43 | 44 | 1 | BUS44 | 1 | 1.1 | 0.9 | 1.0398 | 0.1201 | 0 | 0 | 1 | 1 | 1
44 | 45 | 1 | BUS45 | 1 | 1.1 | 0.9 | 1.0372 | 0.074349 | 0 | 0 | 1 | 1 | 1
45 | 46 | 1 | BUS46 | 1 | 1.1 | 0.9 | 1.04 | 0.11946 | 0 | 0 | 1 | 1 | 1
46 | 47 | 1 | BUS47 | 1 | 1.1 | 0.9 | 1.03 | 0.2135 | 0 | 0 | 1 | 1 | 1
47 | 48 | 1 | BUS48 | 1 | 1.1 | 0.9 | 1.05 | 0.27194 | 0 | 0 | 1 | 1 | 1
48 | 49 | 1 | BUS49 | 1 | 1.1 | 0.9 | 0.97386 | -0.010926 | 0 | 0 | 1 | 1 | 1
49 | 50 | 1 | BUS50 | 1 | 1.1 | 0.9 | 1.05 | 0.23665 | 0 | 0 | 1 | 1 | 1
50 | 51 | 1 | BUS51 | 1 | 1.1 | 0.9 | 1.04 | 0.15422 | 0 | 0 | 1 | 1 | 1
51 | 52 | 1 | BUS52 | 1 | 1.1 | 0.9 | 1.0406 | 0.34671 | 0 | 0 | 1 | 1 | 1
52 | 53 | 1 | BUS53 | 1 | 1.1 | 0.9 | 1.03 | 0.32204 | 0 | 0 | 1 | 1 | 1
53 | 54 | 1 | BUS54 | 1 | 1.1 | 0.9 | 1.0408 | 0.48044 | 0 | 0 | 1 | 1 | 1
54 | 55 | 1 | BUS55 | 1 | 1.1 | 0.9 | 1.04 | 0.46813 | 0 | 0 | 1 | 1 | 1
55 | 56 | 1 | BUS56 | 1 | 1.1 | 0.9 | 1.03 | 0.47885 | 0 | 0 | 1 | 1 | 1
56 | 57 | 1 | BUS57 | 1 | 1.1 | 0.9 | 1.03 | 0.46059 | 0 | 0 | 1 | 1 | 1
57 | 58 | 1 | BUS58 | 1 | 1.1 | 0.9 | 1.0019 | 0.43828 | 0 | 0 | 1 | 1 | 1
58 | 59 | 1 | BUS59 | 1 | 1.1 | 0.9 | 1.0229 | 0.39776 | 0 | 0 | 1 | 1 | 1
59 | 60 | 1 | BUS60 | 1 | 1.1 | 0.9 | 1.04 | 0.53791 | 0 | 0 | 1 | 1 | 1
60 | 61 | 1 | BUS61 | 1 | 1.1 | 0.9 | 1.04 | 0.48007 | 0 | 0 | 1 | 1 | 1
61 | 62 | 1 | BUS62 | 1 | 1.1 | 0.9 | 1.0103 | 0.4271 | 0 | 0 | 1 | 1 | 1
62 | 63 | 1 | BUS63 | 1 | 1.1 | 0.9 | 1.0028 | 0.31373 | 0 | 0 | 1 | 1 | 1
63 | 64 | 1 | BUS64 | 1 | 1.1 | 0.9 | 1.0055 | 0.25974 | 0 | 0 | 1 | 1 | 1
64 | 65 | 1 | BUS65 | 1 | 1.1 | 0.9 | 1.04 | 0.28147 | 0 | 0 | 1 | 1 | 1
65 | 66 | 1 | BUS66 | 1 | 1.1 | 0.9 | 1.0193 | 0.36648 | 0 | 0 | 1 | 1 | 1
66 | 67 | 1 | BUS67 | 1 | 1.1 | 0.9 | 1.002 | 0.29404 | 0 | 0 | 1 | 1 | 1
67 | 68 | 1 | BUS68 | 1 | 1.1 | 0.9 | 0.99 | 0.22571 | 0 | 0 | 1 | 1 | 1
68 | 69 | 1 | BUS69 | 1 | 1.1 | 0.9 | 1.0177 | 0.25344 | 0 | 0 | 1 | 1 | 1
69 | 70 | 1 | BUS70 | 1 | 1.1 | 0.9 | 0.99874 | 0.24027 | 0 | 0 | 1 | 1 | 1
70 | 71 | 1 | BUS71 | 1 | 1.1 | 0.9 | 1 | 0.198 | 0 | 0 | 1 | 1 | 1
71 | 72 | 1 | BUS72 | 1 | 1.1 | 0.9 | 1.05 | 0.18117 | 0 | 0 | 1 | 1 | 1
72 | 73 | 1 | BUS73 | 1 | 1.1 | 0.9 | 1.0295 | 0.029908 | 0 | 0 | 1 | 1 | 1
73 | 74 | 1 | BUS74 | 1 | 1.1 | 0.9 | 1.0268 | 0.0053843 | 0 | 0 | 1 | 1 | 1
74 | 75 | 1 | BUS75 | 1 | 1.1 | 0.9 | 1.0425 | 0.021426 | 0 | 0 | 1 | 1 | 1
75 | 76 | 1 | BUS76 | 1 | 1.1 | 0.9 | 1.0485 | 0.013378 | 0 | 0 | 1 | 1 | 1
76 | 77 | 1 | BUS77 | 1 | 1.1 | 0.9 | 1.036 | 0.0096307 | 0 | 0 | 1 | 1 | 1
77 | 78 | 1 | BUS78 | 1 | 1.1 | 0.9 | 1.02 | 0 | 0 | 0 | 1 | 1 | 1
78 | 79 | 1 | BUS79 | 1 | 1.1 | 0.9 | 1.05 | 0.14262 | 0 | 0 | 1 | 1 | 1
79 | 80 | 1 | BUS80 | 1 | 1.1 | 0.9 | 1.0232 | 0.011011 | 0 | 0 | 1 | 1 | 1
80 | 81 | 1 | BUS81 | 1 | 1.1 | 0.9 | 1.0208 | -0.057809 | 0 | 0 | 1 | 1 | 1
81 | 82 | 1 | BUS82 | 1 | 1.1 | 0.9 | 1.05 | 0.13209 | 0 | 0 | 1 | 1 | 1
82 | 83 | 1 | BUS83 | 1 | 1.1 | 0.9 | 1.0098 | 0.40572 | 0 | 0 | 1 | 1 | 1
83 | 84 | 1 | BUS84 | 1 | 1.1 | 0.9 | 1.0138 | 0.41411 | 0 | 0 | 1 | 1 | 1
84 | 85 | 1 | BUS85 | 1 | 1.1 | 0.9 | 1.0797 | 0.61166 | 0 | 0 | 1 | 1 | 1
85 | 86 | 1 | BUS86 | 1 | 1.1 | 0.9 | 1 | 0.70555 | 0 | 0 | 1 | 1 | 1
86 | 87 | 1 | BUS87 | 1 | 1.1 | 0.9 | 1.0196 | 0.57564 | 0 | 0 | 1 | 1 | 1
87 | 88 | 1 | BUS88 | 1 | 1.1 | 0.9 | 1.0514 | 0.55819 | 0 | 0 | 1 | 1 | 1
88 | 89 | 1 | BUS89 | 1 | 1.1 | 0.9 | 1.0184 | 0.51759 | 0 | 0 | 1 | 1 | 1
89 | 90 | 1 | BUS90 | 1 | 1.1 | 0.9 | 1.0127 | 0.51592 | 0 | 0 | 1 | 1 | 1
90 | 91 | 1 | BUS91 | 1 | 1.1 | 0.9 | 1.0398 | 0.21417 | 0 | 0 | 1 | 1 | 1
91 | 92 | 1 | BUS92 | 1 | 1.1 | 0.9 | 1.04 | 0.34489 | 0 | 0 | 1 | 1 | 1
92 | 93 | 1 | BUS93 | 1 | 1.1 | 0.9 | 0.97646 | 0.15316 | 0 | 0 | 1 | 1 | 1
93 | 94 | 1 | BUS94 | 1 | 1.1 | 0.9 | 0.97688 | 0.15736 | 0 | 0 | 1 | 1 | 1
94 | 95 | 1 | BUS95 | 1 | 1.1 | 0.9 | 0.97877 | 0.27405 | 0 | 0 | 1 | 1 | 1
95 | 96 | 1 | BUS96 | 1 | 1.1 | 0.9 | 1.0259 | 0.28395 | 0 | 0 | 1 | 1 | 1
96 | 97 | 1 | BUS97 | 1 | 1.1 | 0.9 | 1.04 | 0.26414 | 0 | 0 | 1 | 1 | 1
97 | 98 | 1 | BUS98 | 1 | 1.1 | 0.9 | 1.04 | 0.57183 | 0 | 0 | 1 | 1 | 1
98 | 99 | 1 | BUS99 | 1 | 1.1 | 0.9 | 1.0396 | 0.55998 | 0 | 0 | 1 | 1 | 1
99 | 100 | 1 | BUS100 | 1 | 1.1 | 0.9 | 1.0428 | 0.46973 | 0 | 0 | 1 | 1 | 1
100 | 101 | 1 | BUS101 | 1 | 1.1 | 0.9 | 1.05 | 0.43841 | 0 | 0 | 1 | 1 | 1
101 | 102 | 1 | BUS102 | 1 | 1.1 | 0.9 | 1.0211 | 0.45834 | 0 | 0 | 1 | 1 | 1
102 | 103 | 1 | BUS103 | 1 | 1.1 | 0.9 | 1.0117 | 0.45501 | 0 | 0 | 1 | 1 | 1
103 | 104 | 1 | BUS104 | 1 | 1.1 | 0.9 | 1.0064 | 0.24705 | 0 | 0 | 1 | 1 | 1
104 | 105 | 1 | BUS105 | 1 | 1.1 | 0.9 | 1.0317 | 0.42525 | 0 | 0 | 1 | 1 | 1
105 | 106 | 1 | BUS106 | 1 | 1.1 | 0.9 | 1.0089 | 0.27125 | 0 | 0 | 1 | 1 | 1
106 | 107 | 1 | BUS107 | 1 | 1.1 | 0.9 | 1.0187 | 0.29383 | 0 | 0 | 1 | 1 | 1
107 | 108 | 1 | BUS108 | 1 | 1.1 | 0.9 | 1.0098 | 0.25981 | 0 | 0 | 1 | 1 | 1
108 | 109 | 1 | BUS109 | 1 | 1.1 | 0.9 | 1.0098 | 0.25939 | 0 | 0 | 1 | 1 | 1
109 | 110 | 1 | BUS110 | 1 | 1.1 | 0.9 | 1.0106 | 0.23455 | 0 | 0 | 1 | 1 | 1
110 | 111 | 1 | BUS111 | 1 | 1.1 | 0.9 | 0.98286 | 0.19557 | 0 | 0 | 1 | 1 | 1
111 | 112 | 1 | BUS112 | 1 | 1.1 | 0.9 | 1.0485 | 0.50875 | 0 | 0 | 1 | 1 | 1
112 | 113 | 1 | BUS113 | 1 | 1.1 | 0.9 | 1.0107 | 0.39758 | 0 | 0 | 1 | 1 | 1
113 | 114 | 1 | BUS114 | 1 | 1.1 | 0.9 | 1.0059 | 0.52507 | 0 | 0 | 1 | 1 | 1
114 | 115 | 1 | BUS115 | 1 | 1.1 | 0.9 | 1.02 | 0.57264 | 0 | 0 | 1 | 1 | 1
115 | 116 | 1 | BUS116 | 1 | 1.1 | 0.9 | 1.0071 | 0.46207 | 0 | 0 | 1 | 1 | 1
116 | 117 | 1 | BUS117 | 1 | 1.1 | 0.9 | 1.0062 | 0.52896 | 0 | 0 | 1 | 1 | 1
117 | 118 | 1 | BUS118 | 1 | 1.1 | 0.9 | 1.0003 | 0.54566 | 0 | 0 | 1 | 1 | 1
118 | 119 | 1 | BUS119 | 1 | 1.1 | 0.9 | 1 | 0.51843 | 0 | 0 | 1 | 1 | 1
119 | 120 | 1 | BUS120 | 1 | 1.1 | 0.9 | 1.02 | 0.45657 | 0 | 0 | 1 | 1 | 1
120 | 121 | 1 | BUS121 | 1 | 1.1 | 0.9 | 1.04 | 0.56543 | 0 | 0 | 1 | 1 | 1
121 | 122 | 1 | BUS122 | 1 | 1.1 | 0.9 | 1.05 | 0.55704 | 0 | 0 | 1 | 1 | 1
122 | 123 | 1 | BUS123 | 1 | 1.1 | 0.9 | 1.01 | 0.64726 | 0 | 0 | 1 | 1 | 1
123 | 124 | 1 | BUS124 | 1 | 1.1 | 0.9 | 1.0417 | 0.040989 | 0 | 0 | 1 | 1 | 1
124 | 125 | 1 | BUS125 | 1 | 1.1 | 0.9 | 1.0207 | -0.06012 | 0 | 0 | 1 | 1 | 1
125 | 126 | 1 | BUS126 | 1 | 1.1 | 0.9 | 1.0208 | -0.094979 | 0 | 0 | 1 | 1 | 1
126 | 127 | 1 | BUS127 | 1 | 1.1 | 0.9 | 1.0463 | 0.11394 | 0 | 0 | 1 | 1 | 1
127 | 128 | 1 | BUS128 | 1 | 1.1 | 0.9 | 1.0375 | 0.047101 | 0 | 0 | 1 | 1 | 1
128 | 129 | 1 | BUS129 | 1 | 1.1 | 0.9 | 1.0229 | 0.15547 | 0 | 0 | 1 | 1 | 1
129 | 130 | 1 | BUS130 | 1 | 1.1 | 0.9 | 1.02 | 0.2123 | 0 | 0 | 1 | 1 | 1
130 | 131 | 1 | BUS131 | 1 | 1.1 | 0.9 | 1.0261 | 0.23343 | 0 | 0 | 1 | 1 | 1
131 | 132 | 1 | BUS132 | 1 | 1.1 | 0.9 | 1.0393 | 0.34113 | 0 | 0 | 1 | 1 | 1
132 | 133 | 1 | BUS133 | 1 | 1.1 | 0.9 | 1.02 | 0.5989 | 0 | 0 | 1 | 1 | 1
133 | 134 | 1 | BUS134 | 1 | 1.1 | 0.9 | 1.03 | 0.44767 | 0 | 0 | 1 | 1 | 1
134 | 135 | 1 | BUS135 | 1 | 1.1 | 0.9 | 1.02 | 0.6103 | 0 | 0 | 1 | 1 | 1
135 | 136 | 1 | BUS136 | 1 | 1.1 | 0.9 | 1.0006 | 0.34423 | 0 | 0 | 1 | 1 | 1
136 | 137 | 1 | BUS137 | 1 | 1.1 | 0.9 | 1.04 | 0.35488 | 0 | 0 | 1 | 1 | 1
137 | 138 | 1 | BUS138 | 1 | 1.1 | 0.9 | 0.97002 | 0.23879 | 0 | 0 | 1 | 1 | 1
138 | 139 | 1 | BUS139 | 1 | 1.1 | 0.9 | 1.01 | 0.50916 | 0 | 0 | 1 | 1 | 1
139 | 140 | 1 | BUS140 | 1 | 1.1 | 0.9 | 1.0413 | 0.53777 | 0 | 0 | 1 | 1 | 1

## PQ
uid | idx | u | name | bus | Vn | p0 | q0 | vmax | vmin | owner
0 | PQ_0 | 1 |  | 3 | 1 | 0.09 | 0.88 | 1.1 | 0.9 | 1
1 | PQ_1 | 1 |  | 6 | 1 | 3.2 | 1.53 | 1.1 | 0.9 | 1
2 | PQ_2 | 1 |  | 7 | 1 | 3.29 | 0.32 | 1.1 | 0.9 | 1
3 | PQ_3 | 1 |  | 9 | 1 | 1.58 | 0.3 | 1.1 | 0.9 | 1
4 | PQ_4 | 1 |  | 11 | 1 | 6.8 | 1.03 | 1.1 | 0.9 | 1
5 | PQ_5 | 1 |  | 12 | 1 | 2.74 | 1.15 | 1.1 | 0.9 | 1
6 | PQ_6 | 1 |  | 14 | 1 | 2.48 | 0.85 | 1.1 | 0.9 | 1
7 | PQ_7 | 1 |  | 15 | 1 | 3.09 | -0.92 | 1.1 | 0.9 | 1
8 | PQ_8 | 1 |  | 16 | 1 | 2.24 | 0.47 | 1.1 | 0.9 | 1
9 | PQ_9 | 1 |  | 17 | 1 | 1.39 | 0.17 | 1.1 | 0.9 | 1
10 | PQ_10 | 1 |  | 18 | 1 | 2.81 | 0.76 | 1.1 | 0.9 | 1
11 | PQ_11 | 1 |  | 19 | 1 | 2.06 | 0.28 | 1.1 | 0.9 | 1
12 | PQ_12 | 1 |  | 20 | 1 | 2.84 | 0.27 | 1.1 | 0.9 | 1
13 | PQ_13 | 1 |  | 30 | 1 | 3.22 | 0.02 | 1.1 | 0.9 | 1
14 | PQ_14 | 1 |  | 31 | 1 | 5 | 1.84 | 1.1 | 0.9 | 1
15 | PQ_15 | 1 |  | 34 | 1 | 2.34 | 0.84 | 1.1 | 0.9 | 1
16 | PQ_16 | 1 |  | 35 | 1 | 5.22 | 1.77 | 1.1 | 0.9 | 1
17 | PQ_17 | 1 |  | 36 | 1 | 0.09 | 0.05 | 1.1 | 0.9 | 1
18 | PQ_18 | 1 |  | 41 | 1 | 7 | 1.25 | 1.1 | 0.9 | 1
19 | PQ_19 | 1 |  | 42 | 1 | 1.77 | 0.17 | 1.1 | 0.9 | 1
20 | PQ_20 | 1 |  | 45 | 1 | 2.56 | 0.17 | 1.1 | 0.9 | 1
21 | PQ_21 | 1 |  | 46 | 1 | 1.77 | 0.25 | 1.1 | 0.9 | 1
22 | PQ_22 | 1 |  | 47 | 1 | 5.28 | 1 | 1.1 | 0.9 | 1
23 | PQ_23 | 1 |  | 49 | 1 | 2.08 | 0.17 | 1.1 | 0.9 | 1
24 | PQ_24 | 1 |  | 51 | 1 | 7.31 | 0.75 | 1.1 | 0.9 | 1
25 | PQ_25 | 1 |  | 53 | 1 | 9.23 | 2.5 | 1.1 | 0.9 | 1
26 | PQ_26 | 1 |  | 54 | 1 | 0.2 | 0 | 1.1 | 0.9 | 1
27 | PQ_27 | 1 |  | 55 | 1 | 9.39 | 1.32 | 1.1 | 0.9 | 1
28 | PQ_28 | 1 |  | 56 | 1 | 1.72 | 0.44 | 1.1 | 0.9 | 1
29 | PQ_29 | 1 |  | 57 | 1 | 2.4 | -0.06 | 1.1 | 0.9 | 1
30 | PQ_30 | 1 |  | 58 | 1 | 0.84 | 0.38 | 1.1 | 0.9 | 1
31 | PQ_31 | 1 |  | 59 | 1 | 7.05 | 1.98 | 1.1 | 0.9 | 1
32 | PQ_32 | 1 |  | 61 | 1 | 2.37 | 0.08 | 1.1 | 0.9 | 1
33 | PQ_33 | 1 |  | 64 | 1 | 1.43 | 0.25 | 1.1 | 0.9 | 1
34 | PQ_34 | 1 |  | 65 | 1 | 0.91 | 0 | 1.1 | 0.9 | 1
35 | PQ_35 | 1 |  | 68 | 1 | 2.11 | 0.41 | 1.1 | 0.9 | 1
36 | PQ_36 | 1 |  | 71 | 1 | 3.71 | 0.53 | 1.1 | 0.9 | 1
37 | PQ_37 | 1 |  | 74 | 1 | 1.02 | 0 | 1.1 | 0.9 | 1
38 | PQ_38 | 1 |  | 78 | 1 | 20 | 6 | 1.1 | 0.9 | 1
39 | PQ_39 | 1 |  | 80 | 1 | 7 | 0.25 | 1.1 | 0.9 | 1
40 | PQ_40 | 1 |  | 83 | 1 | 0.8 | 0.16 | 1.1 | 0.9 | 1
41 | PQ_41 | 1 |  | 85 | 1 | 0.18 | 0 | 1.1 | 0.9 | 1
42 | PQ_42 | 1 |  | 86 | 1 | 0.5 | 0.25 | 1.1 | 0.9 | 1
43 | PQ_43 | 1 |  | 88 | 1 | 1.1 | 0.55 | 1.1 | 0.9 | 1
44 | PQ_44 | 1 |  | 89 | 1 | 1 | 0.7 | 1.1 | 0.9 | 1
45 | PQ_45 | 1 |  | 90 | 1 | 1.15 | 0.45 | 1.1 | 0.9 | 1
46 | PQ_46 | 1 |  | 91 | 1 | 16.5 | 5 | 1.1 | 0.9 | 1
47 | PQ_47 | 1 |  | 92 | 1 | 0.1 | 3.2 | 1.1 | 0.9 | 1
48 | PQ_48 | 1 |  | 93 | 1 | 1.25 | 0 | 1.1 | 0.9 | 1
49 | PQ_49 | 1 |  | 94 | 1 | 0.95 | 0 | 1.1 | 0.9 | 1
50 | PQ_50 | 1 |  | 95 | 1 | -1 | 0.87 | 1.1 | 0.9 | 1
51 | PQ_51 | 1 |  | 96 | 1 | -0.4 | -0.25 | 1.1 | 0.9 | 1
52 | PQ_52 | 1 |  | 97 | 1 | 9.1 | 0.5 | 1.1 | 0.9 | 1
53 | PQ_53 | 1 |  | 101 | 1 | 3.5 | 1.3 | 1.1 | 0.9 | 1
54 | PQ_54 | 1 |  | 104 | 1 | 2 | 0.9 | 1.1 | 0.9 | 1
55 | PQ_55 | 1 |  | 105 | 1 | 3.25 | 0 | 1.1 | 0.9 | 1
56 | PQ_56 | 1 |  | 106 | 1 | 0 | -0.12 | 1.1 | 0.9 | 1
57 | PQ_57 | 1 |  | 107 | 1 | 0 | -0.19 | 1.1 | 0.9 | 1
58 | PQ_58 | 1 |  | 108 | 1 | 0 | -0.13 | 1.1 | 0.9 | 1
59 | PQ_59 | 1 |  | 109 | 1 | 0 | -0.13 | 1.1 | 0.9 | 1
60 | PQ_60 | 1 |  | 110 | 1 | 7.18 | 1.25 | 1.1 | 0.9 | 1
61 | PQ_61 | 1 |  | 111 | 1 | 3.99 | 0.45 | 1.1 | 0.9 | 1
62 | PQ_62 | 1 |  | 113 | 1 | 2.06 | 0 | 1.1 | 0.9 | 1
63 | PQ_63 | 1 |  | 114 | 1 | 0 | 0.9 | 1.1 | 0.9 | 1
64 | PQ_64 | 1 |  | 115 | 1 | 1 | 0 | 1.1 | 0.9 | 1
65 | PQ_65 | 1 |  | 116 | 1 | 2 | 0 | 1.1 | 0.9 | 1
66 | PQ_66 | 1 |  | 117 | 1 | 4 | 0.97 | 1.1 | 0.9 | 1
67 | PQ_67 | 1 |  | 118 | 1 | 2.8 | 0.86 | 1.1 | 0.9 | 1
68 | PQ_68 | 1 |  | 119 | 1 | 7.5 | 2 | 1.1 | 0.9 | 1
69 | PQ_69 | 1 |  | 120 | 1 | 9.46 | -0.4 | 1.1 | 0.9 | 1
70 | PQ_70 | 1 |  | 123 | 1 | 0.63 | 0.1 | 1.1 | 0.9 | 1
71 | PQ_71 | 1 |  | 124 | 1 | 3.7 | 0.49 | 1.1 | 0.9 | 1
72 | PQ_72 | 1 |  | 125 | 1 | 3.2 | 0.05 | 1.1 | 0.9 | 1
73 | PQ_73 | 1 |  | 126 | 1 | 4.5 | 0 | 1.1 | 0.9 | 1
74 | PQ_74 | 1 |  | 127 | 1 | 2 | -1.5 | 1.1 | 0.9 | 1
75 | PQ_75 | 1 |  | 128 | 1 | 9.7 | -1.02 | 1.1 | 0.9 | 1
76 | PQ_76 | 1 |  | 129 | 1 | 6.1 | -0.5 | 1.1 | 0.9 | 1
77 | PQ_77 | 1 |  | 130 | 1 | 1.8 | 0 | 1.1 | 0.9 | 1
78 | PQ_78 | 1 |  | 131 | 1 | 11.6 | -4.32 | 1.1 | 0.9 | 1
79 | PQ_79 | 1 |  | 132 | 1 | 2.1 | -3.37 | 1.1 | 0.9 | 1
80 | PQ_80 | 1 |  | 135 | 1 | 1.7 | 0 | 1.1 | 0.9 | 1
81 | PQ_81 | 1 |  | 136 | 1 | 2.7 | 2.23 | 1.1 | 0.9 | 1
82 | PQ_82 | 1 |  | 138 | 1 | 1.1 | 0.64 | 1.1 | 0.9 | 1

## PV
uid | idx | u | name | Sn | Vn | bus | busr | p0 | q0 | pmax | pmin | qmax | qmin | v0 | vmax | vmin | ra | xs
0 | 1 | 1 |  | 100 | 1 | 21 |  | 6.5 | 2.1777 | 99.99 | -99.99 | 9.99 | -9.99 | 0.98 | 1.4 | 0.6 | 0 | 0.029
1 | 2 | 1 |  | 100 | 1 | 22 |  | 6.32 | 1.1035 | 99.99 | -99.99 | 9.99 | -9.99 | 0.99 | 1.4 | 0.6 | 0 | 0.0295
2 | 3 | 1 |  | 100 | 1 | 23 |  | 5.03 | 1.7219 | 99.99 | -99.99 | 9.99 | -9.99 | 1.0066 | 1.4 | 0.6 | 0 | 0.0333
3 | 4 | 1 |  | 100 | 1 | 24 |  | 7 | 2.5122 | 99.99 | -99.99 | 9.99 | -9.99 | 1.05 | 1.4 | 0.6 | 0 | 0.029
4 | 5 | 1 |  | 100 | 1 | 25 |  | 5.6 | 1.0644 | 99.99 | -99.99 | 9.99 | -9.99 | 1.06 | 1.4 | 0.6 | 0 | 0.0322
5 | 6 | 1 |  | 1000 | 1 | 26 |  | 8 | 0.31913 | 99.99 | -99.99 | 9.99 | -9.99 | 1.02 | 1.4 | 0.6 | 0 | 0.313
6 | 7 | 1 |  | 100 | 1 | 27 |  | 5.4 | 0.45069 | 99.99 | -99.99 | 9.99 | -9.99 | 1.02 | 1.4 | 0.6 | 0 | 0.03
7 | 8 | 1 |  | 100 | 1 | 36 |  | 5.54 | 2.1678 | 99.99 | -99.99 | 9.99 | -9.99 | 0.98 | 1.4 | 0.6 | 0 | 0.046
8 | 9 | 1 |  | 100 | 1 | 42 |  | 3.7 | 0.39887 | 99.99 | -99.99 | 9.99 | -9.99 | 1.04 | 1.4 | 0.6 | 0 | 0.0445
9 | 10 | 1 |  | 100 | 1 | 46 |  | 1.54 | 0.57498 | 99.99 | -99.99 | 9.99 | -9.99 | 1.04 | 1.4 | 0.6 | 0 | 0.0413
10 | 11 | 1 |  | 100 | 1 | 47 |  | 4 | 0.02791 | 99.99 | -99.99 | 9.99 | -9.99 | 1.03 | 1.4 | 0.6 | 0 | 0.0782
11 | 12 | 1 |  | 100 | 1 | 48 |  | 4 | 1.3503 | 99.99 | -99.99 | 9.99 | -9.99 | 1.05 | 1.4 | 0.6 | 0 | 0.0782
12 | 13 | 1 |  | 100 | 1 | 50 |  | 6 | 0.92376 | 99.99 | -99.99 | 9.99 | -9.99 | 1.05 | 1.4 | 0.6 | 0 | 0.059
13 | 14 | 1 |  | 100 | 1 | 51 |  | 1.41 | 0.23848 | 99.99 | -99.99 | 9.99 | -9.99 | 1.04 | 1.4 | 0.6 | 0 | 0.0413
14 | 15 | 1 |  | 100 | 1 | 53 |  | 8.33 | 1.7796 | 99.99 | -99.99 | 9.99 | -9.99 | 1.03 | 1.4 | 0.6 | 0 | 0.02
15 | 16 | 1 |  | 100 | 1 | 54 |  | 11.15 | 1.5965 | 99.99 | -99.99 | 9.99 | -9.99 | 1.0408 | 1.4 | 0.6 | 0 | 0.05
16 | 17 | 1 |  | 100 | 1 | 55 |  | 10.95 | 1.986 | 99.99 | -99.99 | 9.99 | -9.99 | 1.04 | 1.4 | 0.6 | 0 | 0.0302
17 | 18 | 1 |  | 100 | 1 | 56 |  | 4.1 | 1.6487 | 99.99 | -99.99 | 9.99 | -9.99 | 1.03 | 1.4 | 0.6 | 0 | 0.0515
18 | 19 | 1 |  | 100 | 1 | 57 |  | 2.98 | -0.50958 | 99.99 | -99.99 | 9.99 | -9.99 | 1.03 | 1.4 | 0.6 | 0 | 0.0464
19 | 20 | 1 |  | 100 | 1 | 60 |  | 4.1 | 0.96456 | 99.99 | -99.99 | 9.99 | -9.99 | 1.04 | 1.4 | 0.6 | 0 | 0.0523
20 | 21 | 1 |  | 100 | 1 | 61 |  | 1.94 | -0.20989 | 99.99 | -99.99 | 9.99 | -9.99 | 1.04 | 1.4 | 0.6 | 0 | 0.0947
21 | 22 | 1 |  | 100 | 1 | 65 |  | 0.91 | 0.53842 | 99.99 | -99.99 | 9.99 | -9.99 | 1.04 | 1.4 | 0.6 | 0 | 0.02
22 | 23 | 1 |  | 100 | 1 | 68 |  | 0.66 | 0.02177 | 99.99 | -99.99 | 9.99 | -9.99 | 0.99 | 1.4 | 0.6 | 0 | 0.02
23 | 24 | 1 |  | 100 | 1 | 71 |  | 1.34 | -3.6645 | 99.99 | -99.99 | 9.99 | -9.99 | 1 | 1.4 | 0.6 | 0 | 0.02
24 | 25 | 1 |  | 100 | 1 | 72 |  | 1.5 | 3.7862 | 99.99 | -99.99 | 9.99 | -9.99 | 1.05 | 1.4 | 0.6 | 0 | 0.02
25 | 27 | 1 |  | 100 | 1 | 79 |  | 10 | 2.5734 | 99.99 | -99.99 | 9.99 | -9.99 | 1.05 | 1.4 | 0.6 | 0 | 0.028
26 | 28 | 1 |  | 100 | 1 | 80 |  | 7.2 | -0.00078 | 99.99 | -99.99 | 9.99 | -9.99 | 1.0232 | 1.4 | 0.6 | 0 | 0.025
27 | 29 | 1 |  | 100 | 1 | 82 |  | 4.6 | 1.251 | 99.99 | -99.99 | 9.99 | -9.99 | 1.05 | 1.4 | 0.6 | 0 | 0.05
28 | 30 | 1 |  | 100 | 1 | 86 |  | 16.5 | 5.7849 | 99.99 | -99.99 | 9.99 | -9.99 | 1 | 1.4 | 0.6 | 0 | 0.01
29 | 31 | 1 |  | 100 | 1 | 91 |  | 9.3 | 9.99 | 99.99 | -99.99 | 9.99 | -9.99 | 1.04 | 1.4 | 0.6 | 0 | 0.02
30 | 32 | 1 |  | 100 | 1 | 92 |  | 4.5 | 3.2472 | 99.99 | -99.99 | 9.99 | -9.99 | 1.04 | 1.4 | 0.6 | 0 | 0.02
31 | 33 | 1 |  | 100 | 1 | 97 |  | 6 | 0.9326 | 99.99 | -99.99 | 9.99 | -9.99 | 1.04 | 1.4 | 0.6 | 0 | 0.02
32 | 34 | 1 |  | 100 | 1 | 98 |  | 5.85 | 0.18956 | 99.99 | -99.99 | 9.99 | -9.99 | 1.04 | 1.4 | 0.6 | 0 | 0.015
33 | 35 | 1 |  | 100 | 1 | 101 |  | 12 | 1.6524 | 99.99 | -99.99 | 9.99 | -9.99 | 1.05 | 1.4 | 0.6 | 0 | 0.017
34 | 36 | 1 |  | 100 | 1 | 115 |  | 5.5 | 1.7217 | 99.99 | -99.99 | 9.99 | -9.99 | 1.02 | 1.4 | 0.6 | 0 | 0.02
35 | 37 | 1 |  | 100 | 1 | 119 |  | 5.5 | 1.2282 | 99.99 | -99.99 | 9.99 | -9.99 | 1 | 1.4 | 0.6 | 0 | 0.02
36 | 38 | 1 |  | 100 | 1 | 120 |  | 7 | 0.51064 | 99.99 | -99.99 | 9.99 | -9.99 | 1.02 | 1.4 | 0.6 | 0 | 0.02
37 | 39 | 1 |  | 100 | 1 | 121 |  | 1.45 | 0.9331 | 99.99 | -99.99 | 9.99 | -9.99 | 1.04 | 1.4 | 0.6 | 0 | 0.02
38 | 40 | 1 |  | 100 | 1 | 122 |  | 1.55 | 1.1387 | 99.99 | -99.99 | 9.99 | -9.99 | 1.05 | 1.4 | 0.6 | 0 | 0.02
39 | 41 | 1 |  | 100 | 1 | 123 |  | 6.55 | 0.48718 | 99.99 | -99.99 | 9.99 | -9.99 | 1.01 | 1.4 | 0.6 | 0 | 0.02
40 | 42 | 1 |  | 100 | 1 | 130 |  | 4.9 | -4.5384 | 99.99 | -99.99 | 9.99 | -9.99 | 1.02 | 1.4 | 0.6 | 0 | 0.02
41 | 43 | 1 |  | 100 | 1 | 133 |  | 17 | -1.3967 | 99.99 | -99.99 | 9.99 | -9.99 | 1.02 | 1.4 | 0.6 | 0 | 0.02
42 | 44 | 1 |  | 100 | 1 | 134 |  | 8.8 | 0.47611 | 99.99 | -99.99 | 9.99 | -9.99 | 1.03 | 1.4 | 0.6 | 0 | 0.02
43 | 45 | 1 |  | 100 | 1 | 135 |  | 23.3 | -0.99874 | 99.99 | -99.99 | 9.99 | -9.99 | 1.02 | 1.4 | 0.6 | 0 | 0.02
44 | 46 | 1 |  | 100 | 1 | 137 |  | 0.7 | 1.7472 | 99.99 | -99.99 | 9.99 | -9.99 | 1.04 | 1.4 | 0.6 | 0 | 0.02
45 | 47 | 1 |  | 100 | 1 | 139 |  | 1.15 | 0.18488 | 99.99 | -99.99 | 9.99 | -9.99 | 1.01 | 1.4 | 0.6 | 0 | 0.02

## Slack
uid | idx | u | name | Sn | Vn | bus | busr | p0 | q0 | pmax | pmin | qmax | qmin | v0 | vmax | vmin | ra | xs | a0
0 | 26 | 1 |  | 100 | 1 | 78 |  | 4.6056 | 0.91287 | 99.99 | -99.99 | 9.99 | -9.99 | 1.02 | 1.4 | 0.6 | 0 | 0.02 | 0

## Shunt
uid | idx | u | name | bus | Sn | Vn | g | b | fn

## Line
uid | idx | u | name | bus1 | bus2 | Sn | fn | Vn1 | Vn2 | r | x | b | g | b1 | g1 | b2 | g2 | trans | tap | phi | owner | xcoord | ycoord
0 | Line_0 | 1 |  | 1 | 2 | 100 | 60 | 1 | 1 | 0.0004 | 0.0043 | 0.07 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
1 | Line_1 | 1 |  | 1 | 4 | 100 | 60 | 1 | 1 | 0.0004 | 0.0043 | 0.07 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
2 | Line_2 | 1 |  | 2 | 33 | 100 | 60 | 1 | 1 | 0.0007 | 0.0082 | 0.14 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
3 | Line_3 | 1 |  | 4 | 5 | 100 | 60 | 1 | 1 | 0.0009 | 0.0101 | 0.17 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
4 | Line_4 | 1 |  | 5 | 6 | 100 | 60 | 1 | 1 | 0.0018 | 0.0217 | 0.37 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
5 | Line_5 | 1 |  | 5 | 31 | 100 | 60 | 1 | 1 | 0.0008 | 0.0129 | 0.14 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
6 | Line_6 | 1 |  | 6 | 7 | 100 | 60 | 1 | 1 | 0.0009 | 0.0094 | 0.17 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
7 | Line_7 | 1 |  | 7 | 8 | 100 | 60 | 1 | 1 | 0.0007 | 0.0089 | 0.13 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
8 | Line_8 | 1 |  | 7 | 10 | 100 | 60 | 1 | 1 | 0.0016 | 0.0195 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
9 | Line_9 | 1 |  | 7 | 12 | 100 | 60 | 1 | 1 | 0.0008 | 0.0135 | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
10 | Line_10 | 1 |  | 7 | 15 | 100 | 60 | 1 | 1 | 0.0003 | 0.0059 | 0.07 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
11 | Line_11 | 1 |  | 8 | 9 | 100 | 60 | 1 | 1 | 0.0007 | 0.0082 | 0.13 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
12 | Line_12 | 1 |  | 8 | 18 | 100 | 60 | 1 | 1 | 0.0013 | 0.0173 | 0.32 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
13 | Line_13 | 1 |  | 9 | 30 | 100 | 60 | 1 | 1 | 0.0011 | 0.0133 | 0.21 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
14 | Line_14 | 1 |  | 12 | 13 | 100 | 60 | 1 | 1 | 0.0008 | 0.014 | 0.26 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
15 | Line_15 | 1 |  | 13 | 14 | 100 | 60 | 1 | 1 | 0.0006 | 0.0096 | 0.18 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
16 | Line_16 | 1 |  | 14 | 15 | 100 | 60 | 1 | 1 | 0.0022 | 0.035 | 0.36 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
17 | Line_17 | 1 |  | 16 | 17 | 100 | 60 | 1 | 1 | 0.0032 | 0.0323 | 0.53 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
18 | Line_18 | 1 |  | 16 | 29 | 100 | 60 | 1 | 1 | 0.007 | 0.0086 | 0.15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
19 | Line_19 | 1 |  | 17 | 18 | 100 | 60 | 1 | 1 | 0.0014 | 0.0147 | 0.24 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
20 | Line_20 | 1 |  | 17 | 19 | 100 | 60 | 1 | 1 | 0.0043 | 0.0474 | 0.78 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
21 | Line_21 | 1 |  | 17 | 20 | 100 | 60 | 1 | 1 | 0.0057 | 0.0625 | 1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
22 | Line_22 | 1 |  | 19 | 20 | 100 | 60 | 1 | 1 | 0.0014 | 0.0151 | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
23 | Line_23 | 1 |  | 29 | 30 | 100 | 60 | 1 | 1 | 0.0013 | 0.0151 | 0.26 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
24 | Line_24 | 1 |  | 29 | 37 | 100 | 60 | 1 | 1 | 0.0035 | 0.0411 | 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
25 | Line_25 | 1 |  | 30 | 31 | 100 | 60 | 1 | 1 | 0.0013 | 0.0213 | 0.22 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
26 | Line_26 | 1 |  | 31 | 32 | 100 | 60 | 1 | 1 | 0.0008 | 0.0128 | 0.13 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
27 | Line_27 | 1 |  | 32 | 33 | 100 | 60 | 1 | 1 | 0.0002 | 0.0026 | 0.04 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
28 | Line_28 | 1 |  | 32 | 35 | 100 | 60 | 1 | 1 | 0.0008 | 0.0112 | 0.15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
29 | Line_29 | 1 |  | 33 | 34 | 100 | 60 | 1 | 1 | 0.0006 | 0.0092 | 0.11 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
30 | Line_30 | 1 |  | 34 | 35 | 100 | 60 | 1 | 1 | 0.0004 | 0.0046 | 0.08 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
31 | Line_31 | 1 |  | 35 | 73 | 100 | 60 | 1 | 1 | 0.0023 | 0.0363 | 0.38 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
32 | Line_32 | 1 |  | 37 | 38 | 100 | 60 | 1 | 1 | 0.0016 | 0.0163 | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
33 | Line_33 | 1 |  | 37 | 39 | 100 | 60 | 1 | 1 | 0.0008 | 0.0074 | 0.48 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
34 | Line_34 | 1 |  | 37 | 40 | 100 | 60 | 1 | 1 | 0.0009 | 0.0315 | 0.06 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
35 | Line_35 | 1 |  | 37 | 43 | 100 | 60 | 1 | 1 | 0.0013 | 0.0188 | 1.31 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
36 | Line_36 | 1 |  | 38 | 69 | 100 | 60 | 1 | 1 | 0.0043 | 0.0485 | 0.79 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
37 | Line_37 | 1 |  | 39 | 73 | 100 | 60 | 1 | 1 | 0.0019 | 0.0183 | 0.29 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
38 | Line_38 | 1 |  | 39 | 73 | 100 | 60 | 1 | 1 | 0.0019 | 0.0183 | 0.29 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
39 | Line_39 | 1 |  | 40 | 44 | 100 | 60 | 1 | 1 | 0.008 | 0.053 | 0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
40 | Line_40 | 1 |  | 41 | 42 | 100 | 60 | 1 | 1 | 0.0018 | 0.0089 | 0.07 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
41 | Line_41 | 1 |  | 41 | 45 | 100 | 60 | 1 | 1 | 0.0776 | 0.2241 | 0.13 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
42 | Line_42 | 1 |  | 43 | 44 | 100 | 60 | 1 | 1 | 0 | 0.011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
43 | Line_43 | 1 |  | 43 | 50 | 100 | 60 | 1 | 1 | 0.0025 | 0.0268 | 0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
44 | Line_44 | 1 |  | 43 | 50 | 100 | 60 | 1 | 1 | 0.0025 | 0.0268 | 0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
45 | Line_45 | 1 |  | 44 | 45 | 100 | 60 | 1 | 1 | 0 | 0.0205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
46 | Line_46 | 1 |  | 44 | 48 | 100 | 60 | 1 | 1 | 0.015 | 0.105 | 0.79 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
47 | Line_47 | 1 |  | 45 | 46 | 100 | 60 | 1 | 1 | 0.1235 | 0.3548 | 0.16 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
48 | Line_48 | 1 |  | 45 | 51 | 100 | 60 | 1 | 1 | 0.0605 | 0.1896 | 0.08 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
49 | Line_49 | 1 |  | 45 | 71 | 100 | 60 | 1 | 1 | 0.1751 | 0.5575 | 0.12 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
50 | Line_50 | 1 |  | 46 | 47 | 100 | 60 | 1 | 1 | 0.0632 | 0.121 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
51 | Line_51 | 1 |  | 46 | 49 | 100 | 60 | 1 | 1 | 0.164 | 0.578 | 0.06 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
52 | Line_52 | 1 |  | 47 | 48 | 100 | 60 | 1 | 1 | 0 | 0.033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
53 | Line_53 | 1 |  | 50 | 51 | 100 | 60 | 1 | 1 | 0 | 0.0207 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
54 | Line_54 | 1 |  | 50 | 52 | 100 | 60 | 1 | 1 | 0.002 | 0.022 | 1.28 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
55 | Line_55 | 1 |  | 51 | 53 | 100 | 60 | 1 | 1 | 0.0844 | 0.2161 | 0.22 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
56 | Line_56 | 1 |  | 51 | 72 | 100 | 60 | 1 | 1 | 0.0051 | 0.0232 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
57 | Line_57 | 1 |  | 52 | 53 | 100 | 60 | 1 | 1 | 0.0014 | 0.0388 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
58 | Line_58 | 1 |  | 53 | 55 | 100 | 60 | 1 | 1 | 0.03 | 0.107 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
59 | Line_59 | 1 |  | 53 | 65 | 100 | 60 | 1 | 1 | 0.035 | 0.08 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
60 | Line_60 | 1 |  | 54 | 56 | 100 | 60 | 1 | 1 | 0.01 | 0.008 | 0.07 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
61 | Line_61 | 1 |  | 54 | 62 | 100 | 60 | 1 | 1 | 0.008 | 0.069 | 0.13 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
62 | Line_62 | 1 |  | 54 | 102 | 100 | 60 | 1 | 1 | 0.0016 | 0.0248 | 0.06 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
63 | Line_63 | 1 |  | 54 | 103 | 100 | 60 | 1 | 1 | 0.0016 | 0.0248 | 0.06 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
64 | Line_64 | 1 |  | 55 | 57 | 100 | 60 | 1 | 1 | 0.0074 | 0.04 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
65 | Line_65 | 1 |  | 55 | 59 | 100 | 60 | 1 | 1 | 0.016 | 0.0817 | 0.04 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
66 | Line_66 | 1 |  | 56 | 58 | 100 | 60 | 1 | 1 | 0.002 | 0.015 | 0.11 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
67 | Line_67 | 1 |  | 57 | 59 | 100 | 60 | 1 | 1 | 0.014 | 0.068 | 0.03 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
68 | Line_68 | 1 |  | 58 | 60 | 100 | 60 | 1 | 1 | 0.0035 | 0.0344 | 0.27 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
69 | Line_69 | 1 |  | 58 | 62 | 100 | 60 | 1 | 1 | 0.002 | 0.018 | 0.03 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
70 | Line_70 | 1 |  | 59 | 61 | 100 | 60 | 1 | 1 | 0.068 | 0.143 | 0.06 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
71 | Line_71 | 1 |  | 60 | 140 | 100 | 60 | 1 | 1 | 0.0039 | 0.0363 | 0.07 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
72 | Line_72 | 1 |  | 62 | 63 | 100 | 60 | 1 | 1 | 0.0129 | 0.0803 | 0.15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
73 | Line_73 | 1 |  | 63 | 64 | 100 | 60 | 1 | 1 | 0 | 0.046 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
74 | Line_74 | 1 |  | 63 | 67 | 100 | 60 | 1 | 1 | 0.012 | 0.093 | 0.18 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
75 | Line_75 | 1 |  | 64 | 65 | 100 | 60 | 1 | 1 | 0.035 | 0.08 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
76 | Line_76 | 1 |  | 64 | 68 | 100 | 60 | 1 | 1 | 0.0988 | 0.231 | 0.13 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
77 | Line_77 | 1 |  | 66 | 67 | 100 | 60 | 1 | 1 | 0 | 0.0231 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
78 | Line_78 | 1 |  | 66 | 69 | 100 | 60 | 1 | 1 | 0.0018 | 0.0274 | 0.27 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
79 | Line_79 | 1 |  | 66 | 134 | 100 | 60 | 1 | 1 | 0.00076 | 0.01141 | 1.16 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
80 | Line_80 | 1 |  | 67 | 68 | 100 | 60 | 1 | 1 | 0 | 0.049 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
81 | Line_81 | 1 |  | 67 | 70 | 100 | 60 | 1 | 1 | 0.007 | 0.0619 | 0.12 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
82 | Line_82 | 1 |  | 67 | 138 | 100 | 60 | 1 | 1 | 0.0063 | 0.0491 | 0.09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
83 | Line_83 | 1 |  | 68 | 71 | 100 | 60 | 1 | 1 | 0.1203 | 0.2048 | 0.07 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
84 | Line_84 | 1 |  | 69 | 71 | 100 | 60 | 1 | 1 | 0 | 0.0375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
85 | Line_85 | 1 |  | 70 | 71 | 100 | 60 | 1 | 1 | 0 | 0.049 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
86 | Line_86 | 1 |  | 71 | 72 | 100 | 60 | 1 | 1 | 0.0053 | 0.0135 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
87 | Line_87 | 1 |  | 73 | 74 | 100 | 60 | 1 | 1 | 0.0022 | 0.0196 | 0.34 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
88 | Line_88 | 1 |  | 73 | 74 | 100 | 60 | 1 | 1 | 0.0022 | 0.0196 | 0.34 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
89 | Line_89 | 1 |  | 74 | 77 | 100 | 60 | 1 | 1 | 0.0003 | 0.0043 | 0.08 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
90 | Line_90 | 1 |  | 74 | 78 | 100 | 60 | 1 | 1 | 0.0005 | 0.0045 | 0.32 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
91 | Line_91 | 1 |  | 74 | 78 | 100 | 60 | 1 | 1 | 0.0005 | 0.0045 | 0.32 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
92 | Line_92 | 1 |  | 75 | 124 | 100 | 60 | 1 | 1 | 0.0007 | 0.0175 | 1.39 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
93 | Line_93 | 1 |  | 76 | 77 | 100 | 60 | 1 | 1 | 0.003 | 0.0068 | 1.37 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
94 | Line_94 | 1 |  | 78 | 79 | 100 | 60 | 1 | 1 | 0.0003 | 0.0153 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
95 | Line_95 | 1 |  | 78 | 80 | 100 | 60 | 1 | 1 | 0.0135 | 0.0582 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
96 | Line_96 | 1 |  | 78 | 81 | 100 | 60 | 1 | 1 | 0.0005 | 0.0276 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
97 | Line_97 | 1 |  | 78 | 82 | 100 | 60 | 1 | 1 | 0.0005 | 0.0308 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
98 | Line_98 | 1 |  | 81 | 125 | 100 | 60 | 1 | 1 | 0.0001 | 0.0011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
99 | Line_99 | 1 |  | 83 | 112 | 100 | 60 | 1 | 1 | 0.0185 | 0.1537 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
100 | Line_100 | 1 |  | 83 | 113 | 100 | 60 | 1 | 1 | 0.0037 | 0.0202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
101 | Line_101 | 1 |  | 84 | 116 | 100 | 60 | 1 | 1 | 0.0015 | 0.1045 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
102 | Line_102 | 1 |  | 85 | 88 | 100 | 60 | 1 | 1 | 0.0016 | 0.0202 | 0.03 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
103 | Line_103 | 1 |  | 85 | 88 | 100 | 60 | 1 | 1 | 0.0016 | 0.0202 | 0.03 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
104 | Line_104 | 1 |  | 85 | 105 | 100 | 60 | 1 | 1 | 0.01 | 0.109 | 0.18 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
105 | Line_105 | 1 |  | 85 | 105 | 100 | 60 | 1 | 1 | 0.01 | 0.109 | 0.18 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
106 | Line_106 | 1 |  | 85 | 112 | 100 | 60 | 1 | 1 | 0.0069 | 0.0595 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
107 | Line_107 | 1 |  | 85 | 112 | 100 | 60 | 1 | 1 | 0.0069 | 0.0595 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
108 | Line_108 | 1 |  | 87 | 115 | 100 | 60 | 1 | 1 | 0.0001 | 0.0018 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
109 | Line_109 | 1 |  | 88 | 89 | 100 | 60 | 1 | 1 | 0.0005 | 0.0205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
110 | Line_110 | 1 |  | 88 | 105 | 100 | 60 | 1 | 1 | 0.0112 | 0.0993 | 0.17 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
111 | Line_111 | 1 |  | 88 | 105 | 100 | 60 | 1 | 1 | 0.0112 | 0.0993 | 0.17 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
112 | Line_112 | 1 |  | 89 | 90 | 100 | 60 | 1 | 1 | 0.0013 | 0.0049 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
113 | Line_113 | 1 |  | 89 | 105 | 100 | 60 | 1 | 1 | 0.0894 | 0.3363 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
114 | Line_114 | 1 |  | 89 | 113 | 100 | 60 | 1 | 1 | 0.1456 | 0.4115 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
115 | Line_115 | 1 |  | 90 | 114 | 100 | 60 | 1 | 1 | 0.0024 | 0.015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
116 | Line_116 | 1 |  | 91 | 92 | 100 | 60 | 1 | 1 | 0.0058 | 0.0928 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
117 | Line_117 | 1 |  | 91 | 93 | 100 | 60 | 1 | 1 | 0.0421 | 0.2932 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
118 | Line_118 | 1 |  | 91 | 95 | 100 | 60 | 1 | 1 | 0.0261 | 0.1844 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
119 | Line_119 | 1 |  | 91 | 98 | 100 | 60 | 1 | 1 | 0.012 | 0.0854 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
120 | Line_120 | 1 |  | 91 | 110 | 100 | 60 | 1 | 1 | 0.0017 | 0.0117 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
121 | Line_121 | 1 |  | 92 | 97 | 100 | 60 | 1 | 1 | 0.0008 | 0.0303 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
122 | Line_122 | 1 |  | 93 | 94 | 100 | 60 | 1 | 1 | 0.0042 | 0.0283 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
123 | Line_123 | 1 |  | 93 | 95 | 100 | 60 | 1 | 1 | 0.0187 | 0.1284 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
124 | Line_124 | 1 |  | 94 | 111 | 100 | 60 | 1 | 1 | 0.0049 | 0.0336 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
125 | Line_125 | 1 |  | 95 | 96 | 100 | 60 | 1 | 1 | 0.0136 | 0.0955 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
126 | Line_126 | 1 |  | 96 | 97 | 100 | 60 | 1 | 1 | 0.016 | 0.0767 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
127 | Line_127 | 1 |  | 98 | 99 | 100 | 60 | 1 | 1 | 0.0003 | 0.0092 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
128 | Line_128 | 1 |  | 99 | 100 | 100 | 60 | 1 | 1 | 0.001 | 0.0702 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
129 | Line_129 | 1 |  | 101 | 104 | 100 | 60 | 1 | 1 | 0.0077 | 0.0773 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
130 | Line_130 | 1 |  | 101 | 105 | 100 | 60 | 1 | 1 | 0.0188 | 0.1493 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
131 | Line_131 | 1 |  | 101 | 107 | 100 | 60 | 1 | 1 | 0.0076 | 0.0751 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
132 | Line_132 | 1 |  | 101 | 108 | 100 | 60 | 1 | 1 | 0.0078 | 0.0772 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
133 | Line_133 | 1 |  | 101 | 109 | 100 | 60 | 1 | 1 | 0.0078 | 0.0783 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
134 | Line_134 | 1 |  | 101 | 110 | 100 | 60 | 1 | 1 | 0.0482 | 0.2636 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
135 | Line_135 | 1 |  | 104 | 106 | 100 | 60 | 1 | 1 | 0.0018 | 0.018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
136 | Line_136 | 1 |  | 104 | 110 | 100 | 60 | 1 | 1 | 0.0006 | 0.0062 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
137 | Line_137 | 1 |  | 105 | 106 | 100 | 60 | 1 | 1 | 0.0165 | 0.1156 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
138 | Line_138 | 1 |  | 105 | 107 | 100 | 60 | 1 | 1 | 0.0115 | 0.1103 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
139 | Line_139 | 1 |  | 105 | 111 | 100 | 60 | 1 | 1 | 0.0131 | 0.0809 | 0.13 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
140 | Line_140 | 1 |  | 105 | 112 | 100 | 60 | 1 | 1 | 0.008 | 0.0497 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
141 | Line_141 | 1 |  | 105 | 113 | 100 | 60 | 1 | 1 | 0.3824 | 0.9479 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
142 | Line_142 | 1 |  | 107 | 110 | 100 | 60 | 1 | 1 | 0.0021 | 0.0186 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
143 | Line_143 | 1 |  | 108 | 110 | 100 | 60 | 1 | 1 | 0.0026 | 0.0194 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
144 | Line_144 | 1 |  | 108 | 111 | 100 | 60 | 1 | 1 | 0.0059 | 0.0577 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
145 | Line_145 | 1 |  | 109 | 110 | 100 | 60 | 1 | 1 | 0.0026 | 0.0194 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
146 | Line_146 | 1 |  | 109 | 111 | 100 | 60 | 1 | 1 | 0.0059 | 0.0577 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
147 | Line_147 | 1 |  | 112 | 113 | 100 | 60 | 1 | 1 | 0.0101 | 0.0873 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
148 | Line_148 | 1 |  | 114 | 117 | 100 | 60 | 1 | 1 | 0.0663 | 0.3696 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
149 | Line_149 | 1 |  | 114 | 119 | 100 | 60 | 1 | 1 | 0.0876 | 0.254 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
150 | Line_150 | 1 |  | 114 | 121 | 100 | 60 | 1 | 1 | 0.0063 | 0.0802 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
151 | Line_151 | 1 |  | 115 | 116 | 100 | 60 | 1 | 1 | 0.0733 | 0.9799 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
152 | Line_152 | 1 |  | 115 | 117 | 100 | 60 | 1 | 1 | 0.001 | 0.0114 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
153 | Line_153 | 1 |  | 115 | 118 | 100 | 60 | 1 | 1 | 0.1657 | 0.1551 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
154 | Line_154 | 1 |  | 115 | 119 | 100 | 60 | 1 | 1 | 0.0033 | 0.0392 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
155 | Line_155 | 1 |  | 115 | 121 | 100 | 60 | 1 | 1 | 0.022 | 0.2984 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
156 | Line_156 | 1 |  | 115 | 135 | 100 | 60 | 1 | 1 | 0 | 0.6309 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
157 | Line_157 | 1 |  | 115 | 139 | 100 | 60 | 1 | 1 | 0 | 0.1243 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
158 | Line_158 | 1 |  | 116 | 117 | 100 | 60 | 1 | 1 | 0.0474 | 0.2631 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
159 | Line_159 | 1 |  | 116 | 118 | 100 | 60 | 1 | 1 | 0.0117 | 0.0744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
160 | Line_160 | 1 |  | 116 | 120 | 100 | 60 | 1 | 1 | 0.2307 | 0.7041 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
161 | Line_161 | 1 |  | 116 | 121 | 100 | 60 | 1 | 1 | 0.0951 | 0.4576 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
162 | Line_162 | 1 |  | 116 | 122 | 100 | 60 | 1 | 1 | 0.0033 | 0.1287 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
163 | Line_163 | 1 |  | 117 | 118 | 100 | 60 | 1 | 1 | 0.002 | 0.0199 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
164 | Line_164 | 1 |  | 117 | 119 | 100 | 60 | 1 | 1 | 0.0017 | 0.0189 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
165 | Line_165 | 1 |  | 117 | 120 | 100 | 60 | 1 | 1 | 0.0067 | 0.0797 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
166 | Line_166 | 1 |  | 117 | 121 | 100 | 60 | 1 | 1 | 0.015 | 0.0869 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
167 | Line_167 | 1 |  | 117 | 122 | 100 | 60 | 1 | 1 | 0.0383 | 0.0886 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
168 | Line_168 | 1 |  | 118 | 120 | 100 | 60 | 1 | 1 | 0.005 | 0.0629 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
169 | Line_169 | 1 |  | 118 | 121 | 100 | 60 | 1 | 1 | 0.1391 | 0.4798 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
170 | Line_170 | 1 |  | 118 | 122 | 100 | 60 | 1 | 1 | 0.095 | 0.5071 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
171 | Line_171 | 1 |  | 118 | 123 | 100 | 60 | 1 | 1 | 0.0014 | 0.0174 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
172 | Line_172 | 1 |  | 119 | 120 | 100 | 60 | 1 | 1 | 0.1065 | 0.3498 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
173 | Line_173 | 1 |  | 119 | 121 | 100 | 60 | 1 | 1 | 0.1636 | 0.5804 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
174 | Line_174 | 1 |  | 121 | 122 | 100 | 60 | 1 | 1 | 0.125 | 0.4699 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
175 | Line_175 | 1 |  | 122 | 135 | 100 | 60 | 1 | 1 | 0.0573 | 0.7581 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
176 | Line_176 | 1 |  | 122 | 139 | 100 | 60 | 1 | 1 | 0 | 0.1532 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
177 | Line_177 | 1 |  | 124 | 125 | 100 | 60 | 1 | 1 | 0.0025 | 0.073 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
178 | Line_178 | 1 |  | 124 | 126 | 100 | 60 | 1 | 1 | 0 | 0.0839 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
179 | Line_179 | 1 |  | 124 | 127 | 100 | 60 | 1 | 1 | 0.0004 | 0.0105 | 0.72 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
180 | Line_180 | 1 |  | 124 | 128 | 100 | 60 | 1 | 1 | 0.0005 | 0.0117 | 0.84 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
181 | Line_181 | 1 |  | 125 | 126 | 100 | 60 | 1 | 1 | 0 | 0.0411 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
182 | Line_182 | 1 |  | 125 | 128 | 100 | 60 | 1 | 1 | 0.0049 | 0.2634 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
183 | Line_183 | 1 |  | 126 | 127 | 100 | 60 | 1 | 1 | 0 | 0.2532 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
184 | Line_184 | 1 |  | 126 | 128 | 100 | 60 | 1 | 1 | 0 | 0.2741 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
185 | Line_185 | 1 |  | 126 | 138 | 100 | 60 | 1 | 1 | 0 | 0.6805 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
186 | Line_186 | 1 |  | 127 | 128 | 100 | 60 | 1 | 1 | 0 | 0.1339 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
187 | Line_187 | 1 |  | 127 | 132 | 100 | 60 | 1 | 1 | 0.0009 | 0.0221 | 1.62 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
188 | Line_188 | 1 |  | 128 | 129 | 100 | 60 | 1 | 1 | 0 | 0.1381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
189 | Line_189 | 1 |  | 128 | 130 | 100 | 60 | 1 | 1 | 0.0007 | 0.0175 | 1.26 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
190 | Line_190 | 1 |  | 129 | 130 | 100 | 60 | 1 | 1 | 0.0004 | 0.0085 | 0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
191 | Line_191 | 1 |  | 130 | 131 | 100 | 60 | 1 | 1 | 0.0002 | 0.0038 | 0.54 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
192 | Line_192 | 1 |  | 130 | 132 | 100 | 60 | 1 | 1 | 0.0007 | 0.0173 | 1.25 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
193 | Line_193 | 1 |  | 131 | 133 | 100 | 60 | 1 | 1 | 0.002 | 0.039 | 2.77 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
194 | Line_194 | 1 |  | 131 | 135 | 100 | 60 | 1 | 1 | 0.0057 | 0.0699 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
195 | Line_195 | 1 |  | 131 | 139 | 100 | 60 | 1 | 1 | 0.0059 | 0.1052 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
196 | Line_196 | 1 |  | 132 | 133 | 100 | 60 | 1 | 1 | 0.0012 | 0.0293 | 2.09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
197 | Line_197 | 1 |  | 132 | 134 | 100 | 60 | 1 | 1 | 0.00235 | 0.04388 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
198 | Line_198 | 1 |  | 132 | 135 | 100 | 60 | 1 | 1 | 0.0012 | 0.0288 | 2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
199 | Line_199 | 1 |  | 132 | 138 | 100 | 60 | 1 | 1 | 0.0331 | 0.4224 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
200 | Line_200 | 1 |  | 133 | 135 | 100 | 60 | 1 | 1 | 0.0003 | 0.0063 | 0.45 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
201 | Line_201 | 1 |  | 134 | 135 | 100 | 60 | 1 | 1 | 0.0046 | 0.0625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
202 | Line_202 | 1 |  | 134 | 136 | 100 | 60 | 1 | 1 | 0.0046 | 0.0782 | 0.79 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
203 | Line_203 | 1 |  | 135 | 139 | 100 | 60 | 1 | 1 | 0.0177 | 0.0661 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
204 | Line_204 | 1 |  | 136 | 139 | 100 | 60 | 1 | 1 | 0 | 0.2054 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
205 | Line_205 | 1 |  | 137 | 138 | 100 | 60 | 1 | 1 | 0.2553 | 0.718 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
206 | Line_206 | 1 |  | 1 | 21 | 100 | 60 | 1 | 1 | 0 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.07 | 0
207 | Line_207 | 1 |  | 3 | 2 | 100 | 60 | 1 | 1 | 0.0016 | 0.0435 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.06 | 0
208 | Line_208 | 1 |  | 3 | 4 | 100 | 60 | 1 | 1 | 0.0016 | 0.0435 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.06 | 0
209 | Line_209 | 1 |  | 10 | 11 | 100 | 60 | 1 | 1 | 0.0007 | 0.0138 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.06 | 0
210 | Line_210 | 1 |  | 10 | 22 | 100 | 60 | 1 | 1 | 0.0007 | 0.0142 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.07 | 0
211 | Line_211 | 1 |  | 11 | 23 | 100 | 60 | 1 | 1 | 0.0009 | 0.018 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.009 | 0
212 | Line_212 | 1 |  | 13 | 24 | 100 | 60 | 1 | 1 | 0 | 0.0143 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.025 | 0
213 | Line_213 | 1 |  | 14 | 25 | 100 | 60 | 1 | 1 | 0.0005 | 0.0272 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
214 | Line_214 | 1 |  | 16 | 27 | 100 | 60 | 1 | 1 | 0.0006 | 0.0232 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.025 | 0
215 | Line_215 | 1 |  | 20 | 26 | 100 | 60 | 1 | 1 | 0.0008 | 0.0156 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.025 | 0
216 | Line_216 | 1 |  | 28 | 29 | 100 | 60 | 1 | 1 | 0 | 0.0181 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.025 | 0
217 | Line_217 | 1 |  | 33 | 36 | 100 | 60 | 1 | 1 | 0 | 0.025 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.07 | 0
218 | Line_218 | 1 |  | 40 | 41 | 100 | 60 | 1 | 1 | 0 | 0.0161 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.95 | 0
219 | Line_219 | 1 |  | 49 | 48 | 100 | 60 | 1 | 1 | 0.0156 | 0.1536 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.014 | 0
220 | Line_220 | 1 |  | 48 | 100 | 100 | 60 | 1 | 1 | 0.001 | 0.1595 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.97 | 0
221 | Line_221 | 1 |  | 54 | 52 | 100 | 60 | 1 | 1 | 0.002 | 0.0233 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.003 | 0
222 | Line_222 | 1 |  | 54 | 55 | 100 | 60 | 1 | 1 | 0 | 0.013 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.01 | 0
223 | Line_223 | 1 |  | 56 | 57 | 100 | 60 | 1 | 1 | 0 | 0.142 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.98 | 0
224 | Line_224 | 1 |  | 58 | 59 | 100 | 60 | 1 | 1 | 0 | 0.0093 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.96 | 0
225 | Line_225 | 1 |  | 60 | 61 | 100 | 60 | 1 | 1 | 0 | 0.064 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.99 | 0
226 | Line_226 | 1 |  | 75 | 76 | 100 | 60 | 1 | 1 | 0.0001 | 0.0074 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.99 | 0
227 | Line_227 | 1 |  | 84 | 83 | 100 | 60 | 1 | 1 | 0.0052 | 0.0174 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.003 | 0
228 | Line_228 | 1 |  | 85 | 86 | 100 | 60 | 1 | 1 | 0 | 0.0057 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.11 | 0
229 | Line_229 | 1 |  | 87 | 85 | 100 | 60 | 1 | 1 | 0.0002 | 0.0246 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.939 | 0
230 | Line_230 | 1 |  | 101 | 102 | 100 | 60 | 1 | 1 | 0.0007 | 0.0211 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.045 | 0
231 | Line_231 | 1 |  | 101 | 103 | 100 | 60 | 1 | 1 | 0.0006 | 0.0151 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.056 | 0
232 | Line_232 | 1 |  | 137 | 136 | 100 | 60 | 1 | 1 | 0.0008 | 0.0239 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0

## Area
uid | idx | u | name

## GENCLS
uid | idx | u | name | bus | gen | coi | Sn | Vn | fn | D | M | ra | xl | xq | kp | kw | S10 | S12

## GENROU
uid | idx | u | name | bus | gen | coi | Sn | Vn | fn | D | M | ra | xl | xq | kp | kw | S10 | S12 | xd | xd1 | xd2 | xq1 | xq2 | Td10 | Td20 | Tq10 | Tq20

## TG2
uid | idx | u | name | syn | R | wref0 | pmax | pmin | dbl | dbu | dbc | T1 | T2

## TGOV1
uid | idx | u | name | syn | R | wref0 | VMAX | VMIN | T1 | T2 | T3 | Dt

## EXDC2
uid | idx | u | name | syn | TR | TA | TC | TB | TE | TF1 | KF1 | KA | KE | VRMAX | VRMIN | E1 | SE1 | E2 | SE2 | Ae | Be

## Toggler
uid | idx | u | name | model | dev | t

## PI2
uid | idx | u | name | Kp | Ki | Wmax | Wmin